INSTALLATION CHECKLIST (Windows 2003)
- WITH REMOTE SUPPORT CONFIGURATION -

| ( | SERVER INSPECTION: Inspect the Server thoroughly: Client Name: __________________________ Received Internal Authorisation to proceed? (Y (N OS Full Name: __________________________ Date of Installation:________________________ Service Pack: __________________________ CPU Make/Model:__________________________ CPU Count in Task Manager: _________________ CPU Speed: __________________________ Disk size: _________ Free: __________ Memory size: _____________ Local IP: __________________________ Static Public IP (if any): ______________________ |
| --- | --- |
| ( | Prepare Server for installation ** DO NOT PROCEED IF YOU HAVE NO FOR ANY CHECK ITEM Make sure that Windows is activated YES / NO Make sure not connected to domain controller YES / NO Away in a secure place and secure power cable YES / NO No services like IIS and no server roles are installed YES / NO Installed with more than one partition (C: D:) YES / NO Make sure that the boot sequence is correct (CD,HDD,USB) YES / NO Ensure the Windows CD/ I386 folder is copied to C Drive YES / NO Make sure the system has a static internal IP address YES / NO ** DO NOT PROCEED IF YOU HAVE NO FOR ANY CHECK ITEM |
| ( | ( Create a folder NEOSYS in D drive (or any other drive besides C) and create a folder DOWNLOADS in it – all files you download now should be in downloads folder otherwise unless stated ( In Tools > Folder Options > View – Tick Show hidden files and folders and Un-tick Hide extensions |
| ( | IE7 ( AND IE8 ( update blocker MUST be installed from Microsoft (IE7/IE8 uninstalled if already present) Otherwise NEOSYS web users will get “permission denied cannot run waiting2.exe” |
| ( | ( Install all High Priority Windows updates from Microsoft and ignore optional ones ( Repeat until it says no updates pending ( Configure automatic Windows update for 3 AM (Check browser is IE6 ( Uninstall Windows Update 2724197 ( prevent it being installed automatically |
| ( | Configure the Network Connection to only Internet Protocol (TCP/IP) – un tick the rest |
| ( | Configure the windows server software firewall to allow *ONLY* the following incoming ports/programs: ( tcp 80 (NOT if public facing server) ( 4430 (19580 (NB no “Remote Desktop”) |
| ( | Rename Administrator to administrator to be consistent with all NEOSYS client logins. |
| DO NOT PROCEED UNLESS ALL THE ABOVE ARE CONFIRMED TO HAVE BEEN COMPLETED |
| ( | Set time zone to the region of installation (or UTC/GMT for multiregion) tz: _____________ |
| ( | Install Cygwin, select NANO, OPENSSH (and if multi/inter-office WGET, EMAIL & RSYNC) reconfigure SSH port to listen on 19580, start & check working from server cygwin command line ( |
| ( | Re-configure internet router/firewall for port forwarding from router to the NEOSYS server ( 19580 > 19580 (SSH) ( 4430 > 4430 (HTTPS – if external access via https might ever be needed) |
| ( | Either Install Dynamic DNS update client ______________________.redirectme.net (Refer Techwiki) OR Setup static ip on NEOSYS DNS ______________________.support.neosys.com (Refer Techwiki) |
| ( | Enable Remote Desktop in Windows and confirm you can connect to the server via tunnelier/rdp from outside via the dynamic or static domain name. |
| DO NOT PROCEED UNLESS ALL THE ABOVE ARE CONFIRMED TO HAVE BEEN COMPLETED |
| ( | Install IIS/Application Server role. ( Enable Active Server Pages in IIS |
| ( | Install selfssl.exe to enable https on port 4430 (if client needs external access only) |
| ( | Disable Autorun (all drives) – Run > gpedit.msc > Administrative Templates > System > Turn off Autoplay should be enabled for All Drives |
| ( | Enable Audit Privilege Use – Control Panel > Administrative Tools > Local Security Settings > Local Policies > Audit Policy > Audit Privilege Use – Tick both Success and Failure |
| ( | First Install neosys.exe (http://www.neosys.com/support/neosys.exe) then neosys2.exe (http://www.neosys.com/support/neosys2.exe) to D:\NEOSYS or elsewhere avoiding C: drive if possible |
| ( | ( Rename D drive name to NEOSYS ( Create shortcuts for Computer Management, D drive, Scheduled Tasks and Command Prompt in the Quick Launch area |
| ( | In D:\neosys create a shortcut called MAINTENANCE to the adagency.bat (adagency.bat is located in the D:\neosys\neosys folder) |
| ( | Start NEOSYS in maintenance mode, get the computer number and give it to NEOSYS staff. Once they give you the authorization number restart NEOSYS maintenance mode and enter the number. Computer Number: _______________ Authorisation Number: __________________ |
| ( | Restore the initial database BACKUP.ZIP file. In Maintenance mode, quit to next user [NEOSYS] then General Menu > Backup & Data Management > Restore |
| ( | Setup the database code as per the guidelines – i.e. [ ] Within 8 letters [ ] The client should be as recognisable as possible from the main database code [ ] The test database code should end with the word TEST and it is not necessary that it must be recognisable [ ] The test database code should always appear after the main database code at login Main database code: ____________ Test database code: ____________ |
| ( | ( Configure any Anti-Virus to exclude NEOSYS *.ov and *.lk files and preferably the whole of \neosys ( No AV present AV NAME [ ] |
| ( | Benchmarking tests – In NEOSYS maintenance mode press F5 and type: - FILESPEED: 1.5 secs ________________________________________________________ (avg of 10) - PROCSPEED: eg 800,000 _______________ - MEMSPEED: eg 50,000 ________________ |
| ( | Check EMS Memory Configuration – in NEOSYS maintenance mode press F5 and type – WHO, press up arrow: 64K Overflow Buffer 1 and 2 should preferably start with an alphabet (( YES ( NO) (Refer Techwiki) |
| ( | Create two .cmd files in D:\neosys – below replace the word DATABASECODE and TESTDATABASE CODE with the exact name of the database concerned and also replace x with the drive letter In File Start DATABASECODE.cmd and TESTDATABASECODE.cmd create the following: x: cd \neosys\neosys Start neosys.js /system ADAGENCY /database DATABASECODE |
| ( | Setup scheduled tasks for 1 main process to start at 6 am. |
| ( | Enable ASP as an extension under IIS |
| ( | ( In the IIS Default Web Site create a virtual directory called neosys linked to D:\neosys\neosys.net (with Access Permissions of Read & Run Scripts) ( In that folder > neosys > dll – change the Execute Permission to Scripts & Executables |
| ( | Within the above neosys web site folder create a virtual directory called data linked to D:\neosys\data (with Access Permissions of Read) |
| ( | In the IIS Default Web Site create a another virtual directory called neosys.w3c linked to D:\neosys\neosys.w3c (with Access Permissions of Read & Run Scripts) |
| ( | (On the server, open up http://localhost/neosys and check can login as NEOSYS user (On user computers, open up http://serveripno/neosys and check login as non-NEOSYS user (In case of external access, on neosys support computers, open up https://hostname:4430/neosys and check login as NEOSYS and non NEOSYS user |
| ( | ( To allow file uploads – create a folder IMAGES under D:\neosys ( Within the neosys web site folder create a virtual directory called images linked to D:\neosys\images (Access Permissions of Read + Write) ( Allow UPLOAD.DLL as an asapi extension ( Check that you can upload files now |
| ( | From Support > System Test – Test the Web server loopback with the option 100 from the Number of Times to repeat. This checks the connection to IIS Server result: __________(0,3,5) HTTP User:_________(5,10,5) HTTPS user: ____________ (200,250,300) |
| ( | From Support > System Test – Test the NEOSYS application loopback with the option 100 from the Number of Times to repeat. This checks the connection to the NEOSYS database Server result:___________(50,100,200) HTTP User:____________(50,100,200) HTTPS user:___________ (200,250,300) |
| ( | In the System Configuration File: ( Configure the system id to be the same name as the database (or more recognisable) and put an asterisk mark (Configure the startup of additional processes (3 for main data and 1 for test data) and tick the main database with the option to backup. If you do not tick this, the automated backup at 1 am will not happen ( Configure the automatic copy of main database to test database ( Configure backup drive and alert email addresses in the System Configuration File (make sure that there is atleast 1 person from the client management [ ] and 1 person from the IT [ ]from the client side who receives the backup alert) ( Set up SMTP Hostname and Port ( Set the Timezone (Refer to Techwiki) |
| ( | (1) (Setup Monitoring from Nagios (2) ( Test if Nagios is getting updated |
| ( | Add the new client to the support homepage |
| ( | Refer Techwiki for Implementing NEOSYS |
| Comments: |